{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":307,"n_cols":9,"rows_kept":307,"merged":[[0,0,0,9],[1,0,1,9],[2,0,2,5],[2,6,2,9],[3,0,5,0],[3,1,5,2],[3,3,5,4],[3,5,5,6],[3,7,5,7],[3,8,5,9],[6,1,6,2],[6,3,6,4],[6,5,6,6],[6,8,6,9],[7,1,7,2],[7,3,7,4],[7,5,7,6],[7,8,7,9],[8,1,8,2],[8,3,8,4],[8,5,8,6],[8,8,8,9],[9,1,9,2],[9,3,9,4],[9,5,9,6],[9,8,9,9],[10,1,10,2],[10,3,10,4],[10,5,10,6],[10,8,10,9],[11,1,11,2],[11,3,11,4],[11,5,11,6],[11,8,11,9],[12,1,12,2],[12,3,12,4],[12,5,12,6],[12,8,12,9],[13,1,13,2],[13,3,13,4],[13,5,13,6],[13,8,13,9],[14,1,14,2],[14,3,14,4],[14,5,14,6],[14,8,14,9],[15,1,15,2],[15,3,15,4],[15,5,15,6],[15,8,15,9],[16,1,16,2],[16,3,16,4],[16,5,16,6],[16,8,16,9],[17,1,17,2],[17,3,17,4],[17,5,17,6],[17,8,17,9],[18,1,18,2],[18,3,18,4],[18,5,18,6],[18,8,18,9],[19,1,19,2],[19,3,19,4],[19,5,19,6],[19,8,19,9],[20,1,20,2],[20,3,20,4],[20,5,20,6],[20,8,20,9],[21,1,21,2],[21,3,21,4],[21,5,21,6],[21,8,21,9],[22,1,22,2],[22,3,22,4],[22,5,22,6],[22,8,22,9],[23,0,23,9],[24,0,24,9],[25,0,25,1],[25,2,25,3],[25,4,25,5],[25,6,25,8],[26,0,26,9],[27,0,27,9],[28,0,28,5],[28,6,28,9],[29,0,31,0],[29,1,31,2],[29,3,31,4],[29,5,31,6],[29,7,31,7],[29,8,31,9],[32,1,32,2],[32,3,32,4],[32,5,32,6],[32,8,32,9],[33,1,33,2],[33,3,33,4],[33,5,33,6],[33,8,33,9],[34,1,34,2],[34,3,34,4],[34,5,34,6],[34,8,34,9],[35,1,35,2],[35,3,35,4],[35,5,35,6],[35,8,35,9],[36,1,36,2],[36,3,36,4],[36,5,36,6],[36,8,36,9],[37,1,37,2],[37,3,37,4],[37,5,37,6],[37,8,37,9],[38,1,38,2],[38,3,38,4],[38,5,38,6],[38,8,38,9],[39,1,39,2],[39,3,39,4],[39,5,39,6],[39,8,39,9],[40,1,40,2],[40,3,40,4],[40,5,40,6],[40,8,40,9],[41,1,41,2],[41,3,41,4],[41,5,41,6],[41,8,41,9],[42,1,42,2],[42,3,42,4],[42,5,42,6],[42,8,42,9],[43,1,43,2],[43,3,43,4],[43,5,43,6],[43,8,43,9],[44,1,44,2],[44,3,44,4],[44,5,44,6],[44,8,44,9],[45,1,45,2],[45,3,45,4],[45,5,45,6],[45,8,45,9],[46,1,46,2],[46,3,46,4],[46,5,46,6],[46,8,46,9],[47,1,47,2],[47,3,47,4],[47,5,47,6],[47,8,47,9],[48,0,48,9],[49,0,49,9],[50,0,50,9],[51,0,51,1],[51,2,51,3],[51,4,51,5],[51,6,51,8],[52,0,52,9],[53,0,53,9],[54,0,54,5],[54,6,54,9],[55,0,57,0],[55,1,57,2],[55,3,57,4],[55,5,57,6],[55,7,57,7],[55,8,57,9],[58,1,58,2],[58,3,58,4],[58,5,58,6],[58,8,58,9],[59,1,59,2],[59,3,59,4],[59,5,59,6],[59,8,59,9],[60,1,60,2],[60,3,60,4],[60,5,60,6],[60,8,60,9],[61,1,61,2],[61,3,61,4],[61,5,61,6],[61,8,61,9],[62,1,62,2],[62,3,62,4],[62,5,62,6],[62,8,62,9],[63,1,63,2],[63,3,63,4],[63,5,63,6],[63,8,63,9],[64,1,64,2],[64,3,64,4],[64,5,64,6],[64,8,64,9],[65,1,65,2],[65,3,65,4],[65,5,65,6],[65,8,65,9],[66,1,66,2],[66,3,66,4],[66,5,66,6],[66,8,66,9],[67,1,67,2],[67,3,67,4],[67,5,67,6],[67,8,67,9],[68,1,68,2],[68,3,68,4],[68,5,68,6],[68,8,68,9],[69,0,69,9],[70,0,70,9],[71,0,71,1],[71,2,71,3],[71,4,71,5],[71,6,71,8],[72,0,72,9],[73,0,73,9],[74,0,74,5],[74,6,74,9],[75,0,77,0],[75,1,77,2],[75,3,77,4],[75,5,77,6],[75,7,77,7],[75,8,77,9],[78,1,78,2],[78,3,78,4],[78,5,78,6],[78,8,78,9],[79,1,79,2],[79,3,79,4],[79,5,79,6],[79,8,79,9],[80,1,80,2],[80,3,80,4],[80,5,80,6],[80,8,80,9],[81,1,81,2],[81,3,81,4],[81,5,81,6],[81,8,81,9],[82,1,82,2],[82,3,82,4],[82,5,82,6],[82,8,82,9],[83,1,83,2],[83,3,83,4],[83,5,83,6],[83,8,83,9],[84,1,84,2],[84,3,84,4],[84,5,84,6],[84,8,84,9],[85,1,85,2],[85,3,85,4],[85,5,85,6],[85,8,85,9],[86,1,86,2],[86,3,86,4],[86,5,86,6],[86,8,86,9],[87,1,87,2],[87,3,87,4],[87,5,87,6],[87,8,87,9],[88,1,88,2],[88,3,88,4],[88,5,88,6],[88,8,88,9],[89,1,89,2],[89,3,89,4],[89,5,89,6],[89,8,89,9],[90,1,90,2],[90,3,90,4],[90,5,90,6],[90,8,90,9],[91,1,91,2],[91,3,91,4],[91,5,91,6],[91,8,91,9],[92,1,92,2],[92,3,92,4],[92,5,92,6],[92,8,92,9],[93,1,93,2],[93,3,93,4],[93,5,93,6],[93,8,93,9],[94,1,94,2],[94,3,94,4],[94,5,94,6],[94,8,94,9],[95,1,95,2],[95,3,95,4],[95,5,95,6],[95,8,95,9],[96,1,96,2],[96,3,96,4],[96,5,96,6],[96,8,96,9],[97,1,97,2],[97,3,97,4],[97,5,97,6],[97,8,97,9],[98,1,98,2],[98,3,98,4],[98,5,98,6],[98,8,98,9],[99,1,99,2],[99,3,99,4],[99,5,99,6],[99,8,99,9],[100,1,100,2],[100,3,100,4],[100,5,100,6],[100,8,100,9],[101,1,101,2],[101,3,101,4],[101,5,101,6],[101,8,101,9],[102,1,102,2],[102,3,102,4],[102,5,102,6],[102,8,102,9],[103,1,103,2],[103,3,103,4],[103,5,103,6],[103,8,103,9],[104,1,104,2],[104,3,104,4],[104,5,104,6],[104,8,104,9],[105,1,105,2],[105,3,105,4],[105,5,105,6],[105,8,105,9],[106,1,106,2],[106,3,106,4],[106,5,106,6],[106,8,106,9],[107,1,107,2],[107,3,107,4],[107,5,107,6],[107,8,107,9],[108,1,108,2],[108,3,108,4],[108,5,108,6],[108,8,108,9],[109,1,109,2],[109,3,109,4],[109,5,109,6],[109,8,109,9],[110,0,110,9],[111,0,111,9],[112,0,112,9],[113,0,113,1],[113,2,113,3],[113,4,113,5],[113,6,113,8],[114,0,114,9],[115,0,115,9],[116,0,116,5],[116,6,116,9],[117,0,119,0],[117,1,119,2],[117,3,119,4],[117,5,119,6],[117,7,119,7],[117,8,119,9],[120,1,120,2],[120,3,120,4],[120,5,120,6],[120,8,120,9],[121,1,121,2],[121,3,121,4],[121,5,121,6],[121,8,121,9],[122,1,122,2],[122,3,122,4],[122,5,122,6],[122,8,122,9],[123,1,123,2],[123,3,123,4],[123,5,123,6],[123,8,123,9],[124,1,124,2],[124,3,124,4],[124,5,124,6],[124,8,124,9],[125,1,125,2],[125,3,125,4],[125,5,125,6],[125,8,125,9],[126,1,126,2],[126,3,126,4],[126,5,126,6],[126,8,126,9],[127,1,127,2],[127,3,127,4],[127,5,127,6],[127,8,127,9],[128,1,128,2],[128,3,128,4],[128,5,128,6],[128,8,128,9],[129,1,129,2],[129,3,129,4],[129,5,129,6],[129,8,129,9],[130,1,130,2],[130,3,130,4],[130,5,130,6],[130,8,130,9],[131,1,131,2],[131,3,131,4],[131,5,131,6],[131,8,131,9],[132,1,132,2],[132,3,132,4],[132,5,132,6],[132,8,132,9],[133,1,133,2],[133,3,133,4],[133,5,133,6],[133,8,133,9],[134,1,134,2],[134,3,134,4],[134,5,134,6],[134,8,134,9],[135,1,135,2],[135,3,135,4],[135,5,135,6],[135,8,135,9],[136,1,136,2],[136,3,136,4],[136,5,136,6],[136,8,136,9],[137,1,137,2],[137,3,137,4],[137,5,137,6],[137,8,137,9],[138,1,138,2],[138,3,138,4],[138,5,138,6],[138,8,138,9],[139,1,139,2],[139,3,139,4],[139,5,139,6],[139,8,139,9],[140,1,140,2],[140,3,140,4],[140,5,140,6],[140,8,140,9],[141,1,141,2],[141,3,141,4],[141,5,141,6],[141,8,141,9],[142,1,142,2],[142,3,142,4],[142,5,142,6],[142,8,142,9],[143,1,143,2],[143,3,143,4],[143,5,143,6],[143,8,143,9],[144,1,144,2],[144,3,144,4],[144,5,144,6],[144,8,144,9],[145,1,145,2],[145,3,145,4],[145,5,145,6],[145,8,145,9],[146,1,146,2],[146,3,146,4],[146,5,146,6],[146,8,146,9],[147,1,147,2],[147,3,147,4],[147,5,147,6],[147,8,147,9],[148,1,148,2],[148,3,148,4],[148,5,148,6],[148,8,148,9],[149,1,149,2],[149,3,149,4],[149,5,149,6],[149,8,149,9],[150,1,150,2],[150,3,150,4],[150,5,150,6],[150,8,150,9],[151,1,151,2],[151,3,151,4],[151,5,151,6],[151,8,151,9],[152,1,152,2],[152,3,152,4],[152,5,152,6],[152,8,152,9],[153,0,153,9],[154,0,154,9],[155,0,155,9],[156,0,156,1],[156,2,156,3],[156,4,156,5],[156,6,156,8],[157,0,157,9],[158,0,158,9],[159,0,159,5],[159,6,159,9],[160,0,162,0],[160,1,162,2],[160,3,162,4],[160,5,162,6],[160,7,162,7],[160,8,162,9],[163,1,163,2],[163,3,163,4],[163,5,163,6],[163,8,163,9],[164,1,164,2],[164,3,164,4],[164,5,164,6],[164,8,164,9],[165,1,165,2],[165,3,165,4],[165,5,165,6],[165,8,165,9],[166,1,166,2],[166,3,166,4],[166,5,166,6],[166,8,166,9],[167,1,167,2],[167,3,167,4],[167,5,167,6],[167,8,167,9],[168,1,168,2],[168,3,168,4],[168,5,168,6],[168,8,168,9],[169,1,169,2],[169,3,169,4],[169,5,169,6],[169,8,169,9],[170,1,170,2],[170,3,170,4],[170,5,170,6],[170,8,170,9],[171,1,171,2],[171,3,171,4],[171,5,171,6],[171,8,171,9],[172,1,172,2],[172,3,172,4],[172,5,172,6],[172,8,172,9],[173,1,173,2],[173,3,173,4],[173,5,173,6],[173,8,173,9],[174,1,174,2],[174,3,174,4],[174,5,174,6],[174,8,174,9],[175,1,175,2],[175,3,175,4],[175,5,175,6],[175,8,175,9],[176,1,176,2],[176,3,176,4],[176,5,176,6],[176,8,176,9],[177,1,177,2],[177,3,177,4],[177,5,177,6],[177,8,177,9],[178,1,178,2],[178,3,178,4],[178,5,178,6],[178,8,178,9],[179,1,179,2],[179,3,179,4],[179,5,179,6],[179,8,179,9],[180,1,180,2],[180,3,180,4],[180,5,180,6],[180,8,180,9],[181,1,181,2],[181,3,181,4],[181,5,181,6],[181,8,181,9],[182,1,182,2],[182,3,182,4],[182,5,182,6],[182,8,182,9],[183,1,183,2],[183,3,183,4],[183,5,183,6],[183,8,183,9],[184,1,184,2],[184,3,184,4],[184,5,184,6],[184,8,184,9],[185,1,185,2],[185,3,185,4],[185,5,185,6],[185,8,185,9],[186,1,186,2],[186,3,186,4],[186,5,186,6],[186,8,186,9],[187,1,187,2],[187,3,187,4],[187,5,187,6],[187,8,187,9],[188,1,188,2],[188,3,188,4],[188,5,188,6],[188,8,188,9],[189,1,189,2],[189,3,189,4],[189,5,189,6],[189,8,189,9],[190,1,190,2],[190,3,190,4],[190,5,190,6],[190,8,190,9],[191,1,191,2],[191,3,191,4],[191,5,191,6],[191,8,191,9],[192,1,192,2],[192,3,192,4],[192,5,192,6],[192,8,192,9],[193,1,193,2],[193,3,193,4],[193,5,193,6],[193,8,193,9],[194,1,194,2],[194,3,194,4],[194,5,194,6],[194,8,194,9],[195,1,195,2],[195,3,195,4],[195,5,195,6],[195,8,195,9],[196,1,196,2],[196,3,196,4],[196,5,196,6],[196,8,196,9],[197,1,197,2],[197,3,197,4],[197,5,197,6],[197,8,197,9],[198,0,198,9],[199,0,199,9],[200,0,200,9],[201,0,201,1],[201,2,201,3],[201,4,201,5],[201,6,201,8],[202,0,202,9],[203,0,203,9],[204,0,204,5],[204,6,204,9],[205,0,207,0],[205,1,207,2],[205,3,207,4],[205,7,207,7],[208,1,208,2],[208,3,208,4],[208,5,208,6],[208,8,208,9],[209,1,209,2],[209,3,209,4],[209,5,209,6],[209,8,209,9],[210,1,210,2],[210,3,210,4],[210,5,210,6],[210,8,210,9],[211,1,211,2],[211,3,211,4],[211,5,211,6],[211,8,211,9],[212,1,212,2],[212,3,212,4],[212,5,212,6],[212,8,212,9],[213,1,213,2],[213,3,213,4],[213,5,213,6],[213,8,213,9],[214,1,214,2],[214,3,214,4],[214,5,214,6],[214,8,214,9],[215,0,215,9],[216,0,216,9],[217,0,217,1],[217,2,217,3],[217,4,217,5],[217,6,217,8],[218,0,218,9],[219,0,219,9],[220,0,220,5],[220,6,220,9],[221,0,223,0],[221,7,223,7],[224,1,224,2],[224,3,224,4],[224,5,224,6],[224,8,224,9],[225,1,225,2],[225,3,225,4],[225,5,225,6],[225,8,225,9],[226,1,226,2],[226,3,226,4],[226,5,226,6],[226,8,226,9],[227,1,227,2],[227,3,227,4],[227,5,227,6],[227,8,227,9],[228,1,228,2],[228,3,228,4],[228,5,228,6],[228,8,228,9],[229,1,229,2],[229,3,229,4],[229,5,229,6],[229,8,229,9],[230,1,230,2],[230,3,230,4],[230,5,230,6],[230,8,230,9],[231,1,231,2],[231,3,231,4],[231,5,231,6],[231,8,231,9],[232,1,232,2],[232,3,232,4],[232,5,232,6],[232,8,232,9],[233,1,233,2],[233,3,233,4],[233,5,233,6],[233,8,233,9],[234,1,234,2],[234,3,234,4],[234,5,234,6],[234,8,234,9],[235,1,235,2],[235,3,235,4],[235,5,235,6],[235,8,235,9],[236,1,236,2],[236,3,236,4],[236,5,236,6],[236,8,236,9],[237,1,237,2],[237,3,237,4],[237,5,237,6],[237,8,237,9],[238,1,238,2],[238,3,238,4],[238,5,238,6],[238,8,238,9],[239,1,239,2],[239,3,239,4],[239,5,239,6],[239,8,239,9],[240,1,240,2],[240,3,240,4],[240,5,240,6],[240,8,240,9],[241,1,241,2],[241,3,241,4],[241,5,241,6],[241,8,241,9],[242,1,242,2],[242,3,242,4],[242,5,242,6],[242,8,242,9],[243,1,243,2],[243,3,243,4],[243,5,243,6],[243,8,243,9],[244,1,244,2],[244,3,244,4],[244,5,244,6],[244,8,244,9],[245,1,245,2],[245,3,245,4],[245,5,245,6],[245,8,245,9],[246,1,246,2],[246,3,246,4],[246,5,246,6],[246,8,246,9],[247,0,247,9],[248,0,248,9],[249,0,249,9],[250,0,250,1],[250,2,250,3],[250,4,250,5],[250,6,250,8],[251,0,251,9],[252,0,252,9],[253,0,253,5],[253,6,253,9],[254,0,256,0],[254,7,256,7],[257,1,257,2],[257,3,257,4],[257,5,257,6],[257,8,257,9],[258,1,258,2],[258,3,258,4],[258,5,258,6],[258,8,258,9],[259,1,259,2],[259,3,259,4],[259,5,259,6],[259,8,259,9],[260,1,260,2],[260,3,260,4],[260,5,260,6],[260,8,260,9],[261,1,261,2],[261,3,261,4],[261,5,261,6],[261,8,261,9],[262,1,262,2],[262,3,262,4],[262,5,262,6],[262,8,262,9],[263,1,263,2],[263,3,263,4],[263,5,263,6],[263,8,263,9],[264,1,264,2],[264,3,264,4],[264,5,264,6],[264,8,264,9],[265,1,265,2],[265,3,265,4],[265,5,265,6],[265,8,265,9],[266,1,266,2],[266,3,266,4],[266,5,266,6],[266,8,266,9],[267,0,267,9],[268,0,268,9],[269,0,269,1],[269,2,269,3],[269,4,269,5],[269,6,269,8],[270,0,270,9],[271,0,271,9],[272,0,272,5],[272,6,272,9],[273,0,275,0],[273,7,275,7],[276,1,276,2],[276,3,276,4],[276,5,276,6],[276,8,276,9],[277,1,277,2],[277,3,277,4],[277,5,277,6],[277,8,277,9],[278,1,278,2],[278,3,278,4],[278,5,278,6],[278,8,278,9],[279,1,279,2],[279,3,279,4],[279,5,279,6],[279,8,279,9],[280,1,280,2],[280,3,280,4],[280,5,280,6],[280,8,280,9],[281,1,281,2],[281,3,281,4],[281,5,281,6],[281,8,281,9],[282,1,282,2],[282,3,282,4],[282,5,282,6],[282,8,282,9],[283,1,283,2],[283,3,283,4],[283,5,283,6],[283,8,283,9],[284,1,284,2],[284,3,284,4],[284,5,284,6],[284,8,284,9],[285,1,285,2],[285,3,285,4],[285,5,285,6],[285,8,285,9],[286,1,286,2],[286,3,286,4],[286,5,286,6],[286,8,286,9],[287,1,287,2],[287,3,287,4],[287,5,287,6],[287,8,287,9],[288,1,288,2],[288,3,288,4],[288,5,288,6],[288,8,288,9],[289,1,289,2],[289,3,289,4],[289,5,289,6],[289,8,289,9],[290,1,290,2],[290,3,290,4],[290,5,290,6],[290,8,290,9],[291,1,291,2],[291,3,291,4],[291,5,291,6],[291,8,291,9],[292,1,292,2],[292,3,292,4],[292,5,292,6],[292,8,292,9],[293,1,293,2],[293,3,293,4],[293,5,293,6],[293,8,293,9],[294,1,294,2],[294,3,294,4],[294,5,294,6],[294,8,294,9],[295,1,295,2],[295,3,295,4],[295,5,295,6],[295,8,295,9],[296,1,296,2],[296,3,296,4],[296,5,296,6],[296,8,296,9],[297,1,297,2],[297,3,297,4],[297,5,297,6],[297,8,297,9],[298,1,298,2],[298,3,298,4],[298,5,298,6],[298,8,298,9],[299,1,299,2],[299,3,299,4],[299,5,299,6],[299,8,299,9],[300,1,300,2],[300,3,300,4],[300,5,300,6],[300,8,300,9],[301,1,301,2],[301,3,301,4],[301,5,301,6],[301,8,301,9],[302,1,302,2],[302,3,302,4],[302,5,302,6],[302,8,302,9],[303,1,303,2],[303,3,303,4],[303,5,303,6],[303,8,303,9],[304,0,304,9],[305,0,305,9],[306,0,306,9],[307,0,307,1],[307,2,307,3],[307,4,307,5],[307,6,307,8]],"merged_total":1014,"flags":["merged_cut"]}
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：火自报工程",{"$nulls":5},"标段：鄂尔多斯恰特影剧院东侧副楼消防升级改造工程"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量"]
[]
[]
[{"$nulls":3},"火自报"]
[1,"030904001001",null,"点型探测器",null,"1.名称:点型探测器感烟\n2.安装方式:吸顶",null,"个",75]
[2,"030904001004",null,"点型探测器",null,"1.名称:点型探测器感温\n2.安装方式:吸顶",null,"个",6]
[3,"030904005001",null,"声光报警器",null,"1.名称:火灾声光报警器\n2.安装方式、部位:墙上安装，底距地2.6米",null,"个",16]
[4,"030904003002",null,"按钮",null,"1.名称:手动报警按钮+电话插孔\n2.安装方式、部位:墙上暗装，底距地1.3米",null,"个",16]
[5,"030904003001",null,"按钮",null,"1.名称:消火栓报警按钮\n2.安装方式、部位: 底距地1.3米",null,"个",20]
[6,"030904006001",null,"消防报警电话插孔(电话）",null,"1.名称:消防专用电话\n2.安装方式、部位:墙上暗装,距地1.3米",null,"个",1]
[7,"030904007001",null,"消防广播(扬声器）",null,"1.名称:扬声器吸顶式\n2.安装方式:吸顶安装",null,"个",32]
[8,"030904001003",null,"短路隔离器",null,"1.名称:短路隔离器\n2.类型:消防接线箱内安装",null,"个",9]
[9,"030904001002",null,"点型探测器",null,"1.名称:区域显示器",null,"个",3]
[10,"030904008004",null,"模块(模块箱）",null,"1.名称:输入输出模块",null,"个",14]
[11,"030904008005",null,"模块(模块箱）",null,"1.名称:输入模块",null,"个",8]
[12,"030904008003",null,"模块(模块箱）",null,"1.名称:消防端子箱\n2.安装方式、部位:墙上明装，底距地1.8米",null,"个",3]
[13,"030411001001",null,"配管",null,"1.名称:钢管\n2.材质:SC\n3.规格:DN20mm\n4.配置形式:暗配",null,"m",617.28]
[14,"030411001003",null,"配管",null,"1.名称:钢管拆除 公称直径20mm以内",null,"m",308.64]
[15,"030411004003",null,"配线",null,"1.名称:电气配线\n2.型号、规格:NH-BV-1.5mm2\n3.配线部位:管内",null,"m",25.29]
[16,"030411004005",null,"配线",null,"1.名称:电气配线\n2.型号、规格:NH-BV-2.5mm2\n3.配线部位:管内",null,"m",269.14]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”"]
[]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：火自报工程",{"$nulls":5},"标段：鄂尔多斯恰特影剧院东侧副楼消防升级改造工程"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量"]
[]
[]
[17,"030411004006",null,"配线",null,"1.名称:电气配线\n2.型号、规格:ZDN-BV-2.5mm2\n3.配线部位:管内",null,"m",154.58]
[18,"030411004001",null,"配线",null,"1.名称:电气配线\n2.型号、规格:ZBN-RVS-2X1.5\n3.配线部位:管内",null,"m",724.27]
[19,"030411004002",null,"配线",null,"1.名称:电气配线\n2.型号、规格:ZBN-RVVP-2X1.0\n3.配线部位:管内",null,"m",149.24]
[20,"030411004009",null,"配线",null,"1.名称:电气配线\n2.型号、规格:ZBN-RVVP-4X1.0\n3.配线部位:管内",null,"m",17.95]
[21,"030411006001",null,"接线盒",null,"1.名称:接线盒\n2.材质:钢质\n3.安装形式:暗装",null,"个",189]
[22,"030905001001",null,"自动报警系统调试",null,"1.点数:自动报警系统调试128点以内",null,"系统",1]
[{"$nulls":3},"分部小计"]
[{"$nulls":3},"消防电源监控系统"]
[23,"030411001002",null,"配管",null,"1.名称:电气配管\n2.材质:JDG\n3.规格:20mm\n4.配置形式:暗配",null,"m",85]
[24,"030411004007",null,"配线",null,"1.名称:通讯线\n2.型号、规格:NH-RVSP-2*1.5\n3.配线部位:管内",null,"m",180]
[25,"030411004008",null,"配线",null,"1.名称:电源线\n2.型号、规格:NH-BV-2.5\n3.配线部位:管内",null,"m",180]
[26,"030904008006",null,"电源监控模块TH-P-HF/VV",null,"1.名称:电源监控模块TH-P-HF/VV",null,"个",2]
[{"$nulls":3},"分部小计"]
[{"$nulls":3},"措施项目"]
[27,"031301017001",null,"脚手架搭拆",{"$nulls":3},"项",1]
[{"$nulls":3},"分部小计"]
["本页小计"]
["合   计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”"]
[]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：喷淋工程",{"$nulls":5},"标段：鄂尔多斯恰特影剧院东侧副楼消防升级改造工程"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量"]
[]
[]
[{"$nulls":3},"整个项目"]
[1,"030901001001",null,"水喷淋钢管",null,"1.安装部位:室内\n2.材质、规格:热浸镀锌镀锌钢管DN25，管道耐压不小于1.2MPa。\n3.连接形式:丝扣连接",null,"m",232]
[2,"030901001002",null,"水喷淋钢管",null,"1.安装部位:室内\n2.材质、规格:热浸镀锌镀锌钢管DN32，管道耐压不小于1.2MPa。\n3.连接形式:丝扣连接",null,"m",210.2]
[3,"030901001003",null,"水喷淋钢管",null,"1.安装部位:室内\n2.材质、规格:热浸镀锌镀锌钢管DN40，管道耐压不小于1.2MPa。\n3.连接形式:丝扣连接",null,"m",185]
[4,"030901001004",null,"水喷淋钢管",null,"1.安装部位:室内\n2.材质、规格:热浸镀锌镀锌钢管DN50，管道耐压不小于1.2MPa。\n3.连接形式:卡箍式连接",null,"m",160]
[5,"030901001005",null,"水喷淋钢管",null,"1.安装部位:室内\n2.材质、规格:热浸镀锌镀锌钢管DN70，管道耐压不小于1.2MPa。\n3.连接形式:沟槽式连接",null,"m",125]
[6,"030901001006",null,"水喷淋钢管",null,"1.安装部位:室内\n2.材质、规格:热浸镀锌镀锌钢管DN80，额定工作压力为1.6MPa。\n3.连接形式:沟槽式连接",null,"m",162]
[7,"030901001007",null,"水喷淋钢管",null,"1.安装部位:室内\n2.材质、规格:热浸镀锌镀锌钢管DN150，额定工作压力为1.6MPa。\n3.连接形式:沟槽式连接",null,"m",120]
[8,"031002001001",null,"管道支架",null,"1.类型:管道支架制作安装",null,"kg",520.3]
[9,"031201003001",null,"金属结构刷油",null,"1.除锈级别:手工除锈 一般钢结构 轻锈\n2.油漆品种:防锈漆\n3.结构类型:一般钢结构\n4.涂刷遍数、漆膜厚度:二遍",null,"m2",520.3]
[10,"030901003002",null,"水喷淋(雾）喷",null,"1.安装部位:水喷淋(雾)",null,"个",50]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”"]
[]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：喷淋工程",{"$nulls":5},"标段：鄂尔多斯恰特影剧院东侧副楼消防升级改造工程"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量"]
[]
[]
[{"$nulls":3},"头",null,"喷头拆除 无吊顶 公称直径25mm以内"]
[11,"030901003001",null,"水喷淋(雾）喷头",null,"1.名称:喷头\n2.材质、型号、规格:DN25\n3.连接形式:螺纹连接",null,"个",50]
[12,"030905002001",null,"水灭火控制装置调试",null,"1.系统形式:自动喷水灭火系统",null,"点",1]
[{"$nulls":3},"分部小计"]
[{"$nulls":3},"措施项目"]
[13,"031301017001",null,"脚手架搭拆",{"$nulls":3},"项",1]
[{"$nulls":3},"分部小计"]
{"$rows_empty":25}
["本页小计"]
["合   计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”"]
[]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：通风空调工程",{"$nulls":5},"标段：鄂尔多斯恰特影剧院东侧副楼消防升级改造工程"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量"]
[]
[]
[{"$nulls":3},"整个项目"]
[1,"030703007001",null,"碳钢风口、散流器、百叶窗",null,"1.名称:风口百叶320*320",null,"个",28]
[2,"030703001001",null,"碳钢阀门",null,"1.名称:280°防火阀\n2.规格:1000*250",null,"个",5]
[3,"010803002001",null,"防火卷帘(闸）门",null,"1.名称:固定式挡烟垂壁\n2.规格:H=600mm",null,"m2",2.52]
[4,"030704001001",null,"通风工程检测、调试",null,"1.风管工程量:通风工程检测、调试",null,"系统",1]
[{"$nulls":3},"分部小计"]
[{"$nulls":3},"措施项目"]
[5,"031301017001",null,"脚手架搭拆",{"$nulls":3},"项",1]
[{"$nulls":3},"分部小计"]
{"$rows_empty":24}
["本页小计"]
["合   计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”"]
[]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：消防门窗",{"$nulls":5},"标段：鄂尔多斯恰特影剧院东侧副楼消防升级改造工程"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量"]
[]
[]
[{"$nulls":3},"门窗工程"]
[1,"010802003001",null,"钢质防火门",null,"甲级防火门，货已到现场，未安装",null,"m2",28.17]
[2,"010802003003",null,"钢质防火门",null,"甲级防火门",null,"m2",2.91]
[3,"010802003002",null,"钢质防火门",null,"乙级防火门",null,"m2",14.7]
[{"$nulls":3},"分部小计"]
[{"$nulls":3},"措施项目"]
{"$rows_empty":29}
["本页小计"]
["合   计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”"]
[]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：消火栓工程",{"$nulls":5},"标段：鄂尔多斯恰特影剧院东侧副楼消防升级改造工程"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量"]
[]
[]
[{"$nulls":3},"消火栓"]
[1,"030901002001",null,"消火栓钢管",null,"1.安装部位:室内\n2.材质、规格:热浸镀锌钢管 DN65\n3.连接形式:沟槽式连接",null,"m",100]
[2,"030901002002",null,"消火栓钢管",null,"1.安装部位:室内\n2.材质、规格:热浸镀锌钢管 DN100\n3.连接形式:沟槽式连接",null,"m",100]
[3,"031002001001",null,"管道支架",null,"1.类型:管道支架制作安装\n2.每段水平直管段应至少设置一个纵向抗震支吊架，每段水平直管段应至少设置一个纵向抗震支吊架",null,"kg",97.06]
[4,"031201003001",null,"金属结构刷油",null,"1.除锈级别:手工除轻锈\n2.油漆品种:防锈漆、调合漆\n3.结构类型:一般钢结构\n4.涂刷遍数、漆膜厚度:各二遍",null,"kg",97.06]
[5,"030901010001",null,"室内消火栓",null,"1.名称:薄型单栓带消防软管卷盘组合式消防柜\n2.采用薄型单栓带消防软管卷盘组合式消防柜1800*700*160（详见15S202-21），选用SN65旋转型消火栓，水枪喷嘴直径19mm，衬胶水龙带长25m，消防软管卷盘配置内径%%c19的消防软管，长度为30米，喷嘴直径为6mm；试验用消火栓箱型号为：SG24A65-J（详见15S202-54）；消火栓安装详见15S202-55~58。消火栓箱内消火栓按钮不作为直接启动消防水泵的开关。",null,"套",16]
[6,"030901013001",null,"灭火器",null,"1.形式:磷酸铵盐手提式干粉灭火器\n2.规格、型号:选用3Kg的磷酸铵盐手提式干粉灭火器，保护间距为20m，型号为MF/ABC3；每处设置2",null,"具",32]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”"]
[]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：消火栓工程",{"$nulls":5},"标段：鄂尔多斯恰特影剧院东侧副楼消防升级改造工程"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量"]
[]
[]
[{"$nulls":5},"具。"]
[7,"031003003001",null,"焊接法兰阀门",null,"1.类型:蝶阀\n2.材质:钢制\n3.规格、压力等级:DN100\n4.连接形式:法兰",null,"个",3]
[8,"031003003002",null,"焊接法兰阀门",null,"1.类型:蝶阀\n2.材质:钢制\n3.规格、压力等级:DN65\n4.连接形式:法兰",null,"个",6]
[9,"030901006001",null,"弯头DN100",null,"1.名称:弯头\n2.规格:DN100",null,"个",2]
[10,"030901006002",null,"卡箍DN100",null,"1.名称:卡箍\n2.规格:DN100",null,"个",4]
[11,"030901006003",null,"三通DN100*DN100*DN100",null,"1.名称:三通\n2.规格:DN100*DN100*DN100",null,"个",2]
[12,"030901006004",null,"弯头DN65",null,"1.名称:弯头\n2.规格:DN65",null,"个",6]
[13,"030905002001",null,"水灭火控制装置调试",null,"1.系统形式:水灭火控制装置调试",null,"点",1]
[{"$nulls":3},"分部小计"]
[{"$nulls":3},"新增项目"]
[14,"030904010001",null,"联动控制箱",null,"1.多线制:联动控制主机",null,"台",1]
[15,"030411004001",null,"配线",null,"1.名称:管内穿线\n2.型号:ZR-RVS-2*1.5",null,"m",800]
[16,"030905003001",null,"防火控制装置调试",null,"1.名称:消防风机调试",null,"个",1]
[17,"030905003002",null,"防火控制装置调试",null,"1.名称:消防水泵联动调试",null,"个",1]
[{"$nulls":3},"分部小计"]
[{"$nulls":3},"措施项目"]
[18,"031301017001",null,"脚手架搭拆",{"$nulls":3},"项",1]
[{"$nulls":3},"分部小计"]
[]
[]
[]
[]
[]
["本页小计"]
["合   计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”"]
[]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：应急照明工程",{"$nulls":5},"标段：鄂尔多斯恰特影剧院东侧副楼消防升级改造工程"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量"]
[]
[]
[{"$nulls":3},"应急照明"]
[1,"030412004001",null,"装饰灯",null,"1.名称: A型安全出口标志灯(36V)\n2.型号:1W,LED,中型(持续性)\n3.安装形式:门上安装  门上0.2米",null,"套",18]
[2,"030412004002",null,"装饰灯",null,"1.名称: A型疏散指示灯(36V)\n2.型号:1W,LED,中型(持续性)\n3.安装形式:吊装  底距地2.3米\n墙上暗装  底距地0.3米",null,"套",31]
[3,"030412004003",null,"装饰灯",null,"1.名称: A型疏散指示灯(36V)\n2.型号:3W,LED,中型\n3.安装形式: 吸 顶",null,"套",47]
[4,"030412005001",null,"荧光灯",null,"1.名称:单管荧光灯",null,"套",1]
[5,"030404017001",null,"配电箱",null,"1.名称:A型应急照明集中电源\n2.型号:TY-D-nKVA\n3.安装方式:底距地1.2m明装",null,"台",1]
[6,"030412004004",null,"装饰灯",null,"1.名称:多信息复合标志灯(36V)\n2.型号:1W,LED,中型(持续性)\n3.安装形式:底距地0.5米壁挂",null,"套",2]
[7,"030412004005",null,"装饰灯",null,"1.名称:防水防尘应急照明壁灯(36V)\n2.型号:3W,LED,中型,IP67\n3.安装形式:底距地2.2米壁挂",null,"套",3]
[8,"030412004006",null,"装饰灯",null,"1.名称:楼层标志灯(36V)\n2.型号:1W,LED,中型(持续性)\n3.安装形式:底距地2.2米壁挂",null,"套",9]
[9,"030404017002",null,"配电箱",null,"1.名称:配电箱\n2.型号:1ALE\n3.规格:(非标箱):500X600X200",null,"台",1]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”"]
[]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：应急照明工程",{"$nulls":5},"标段：鄂尔多斯恰特影剧院东侧副楼消防升级改造工程"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量"]
[]
[]
[{"$nulls":5},"4.安装方式:明装 底距地1.5米"]
[10,"030404017003",null,"配电箱",null,"1.名称:配电箱\n2.型号:ATPY\n3.规格:(非标箱):500X600X200\n4.安装方式:明装 底距地1.2米",null,"台",1]
[11,"030404034001",null,"照明开关",null,"1.名称:单控照明开关\n2.安装方式:底距地1.3米暗装",null,"个",1]
[12,"030411004001",null,"配线",null,"1.名称:管内穿线\n2.型号:NH-RVS-2*2.5mm2",null,"m",443.12]
[13,"030411006001",null,"接线盒",null,"1.名称:接线盒\n2.安装形式:暗装",null,"个",111]
[14,"030414002001",null,"送配电装置系统",null,"送配电装置系统",null,"系统",1]
[{"$nulls":3},"分部小计"]
[{"$nulls":3},"措施项目"]
[15,"031301017001",null,"脚手架搭拆",{"$nulls":3},"项",1]
[{"$nulls":3},"分部小计"]
{"$rows_empty":18}
["本页小计"]
["合   计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”"]